Thank you for your recent submission of samples for BioPRYN Sheep testing. This letter explains the BioPRYN® Sheep Pregnancy Report and how you can use the information to interpret the results. The BioPRYN test measures the level of placental Pregnancy-Specific Protein B (PSPB) in serum. PSPB is produced by the placenta and enters the animal’s blood when a viable fetus is present. The BioPRYN assay can be reliably applied to detect pregnancy status in ewes 30 days post breeding (DPB) by AI or from when the ram was removed from the pen.

The information in the report is displayed in five columns: Tube Number; Animal ID; Response in Test, OD; PSPB Range; and Days Post Breeding. The Response in Test, OD is a measure of optical density (how much light is absorbed by the sample at the end of testing). The OD signal is correlated to the amount of PSPB in the sample. In each assay, the OD of each sample and two assay controls are measured. The controls are used to normalize the OD value of each sample to give a standardized OD output reported in the Response in Test, OD column.

The Response in Test, OD is compared to previously established ranges for determination of pregnancy categorization. Samples are categorized into three PSPB Ranges: Not Detectably Pregnant, Recheck, or Pregnant. These PSPB ranges have been shown to be highly consistent with pregnancy status of ruminants when sampling is performed according to the prescribed protocol. If the Response in Test, OD is higher than 0.21, the animal has a level of PSPB that is significantly different from the average non-pregnant sheep or goat and is in the range of Pregnant animals. If Response in Test, OD value is lower than 0.135, the animal has a level of PSPB that is significantly different from the average pregnant sheep or goat and is in the range of Not Detectably Pregnant (Not Pregnant) animals. The assay is semi-quantitative in a limited range but cannot tell you how many into gestation the animal is due to a large amount of animal to animal variation in production of PSPB over the pregnancy. We categorize Recheck when the Response in Test, OD is between 0.135 and 0.21. A Recheck categorization means the animal has a serum level of PSPB that does not allow categorization in the Not Detectably Pregnant or Pregnant ranges. Two causes of Recheck status are as follows: 1) the sample was taken too early in gestation (prior to 30 days), not allowing a high enough level of PSPB for a pregnant categorization or 2) early embryonic death with a decrease in PSPB that has not cleared from the blood at the time of sampling. A follow up confirmatory test a week or more following the original sampling will allow Recheck animals to attain a level of PSPB that provides a definitive categorization.

If an animal is categorized by BioPRYN in the Not Detectably Pregnant, 99.9% of these animals are Not Detectably Pregnant according to other methods of testing when the initial sample is taken at 30 days post breeding or later. If an animal is categorized Pregnant, 93 to 95% are pregnant in follow up testing. A small percentage of animals in the pregnant or recheck ranges are actually Not Detectably Pregnant in follow up testing due to a low amount of residual PSPB from either a previous pregnancy or a new embryo that has recently died. As explained above, an animal in the Recheck range can be definitively categorized when sampled a week following the initial test. The recheck category can assist your herd management by identifying animals with abnormal pregnancy results that otherwise would not be indicated.